OPERATION   MANUAL of JAC CHARGERS

Caution

- Before using the battery charger - please read all instructions and cautionary markings.

- Use the battery charger in a well ventilated area - for indoor use only.

- To avoid the risk of injury, charge only lead-acid or gel cell type rechargeable batteries.

- Beware of correct polarity.	(5)   Slight heat on the exterior while charging.

(6)   Avoid exposure to heat	(7)   Please remove the plug from AC power outlet after charging

Instruction of charging procedure

- Connect correct polarized clips to battery terminals.

- Connect to mains and switch on. Then charging starts - Red (2A) / Orange (3A-12A) LED light.

- At green light keep charging for a couple of hours for complete charging.

- When charging finished (Green LED), disconnect from mains and remove clips from battery.
(5)- Charging can continue in "Float stage" without harming the battery.

LED Indication

2A Charger	RED : Charging	GREEN : Full charged

3A~ 12A Charger        LED1 : RED -> Power on     LED2 : ORANGE -> Charging     GREEN -» Full charged

FAN Control (3A~ 12A only )

1) Fan on fastspeed (Bulk/Absorption Charge)        2) Fan on slow speed (Float Charge)

Charging Curve

Float Charge

Charging Started  '

AC Current

Float Volts Selling

3-Stage Battery Charger DC Voltage and AC current Charge Profile

Reduced Current and Voltage

Time

Case Picture:         2 Amp Charger                                                          3 to 12 Amp Charger